Delft, The Netherlands, 19-21 November 2008 IRC Symposium : Sanitation for the urban poor Partnerships and Governance Community-based Sanitation for Urban Poor: The case of Quetta, Pakistan Syed Ayub Qutub, Naseema Salam, Khalid Shah and Daanish Anjum,, Pakistan

Rapid urbanisation has increased the need for an adequate sanitation system in Quetta, Pakistan’s 12th largest city but inadequate institutional capacities have hindered the development of one. This has caused chronic problems in the city’s 47 Katchi Abadis (informal settlements). Between 1997 and 2003, the Netherlands Government funded a local environmental management programme which involved a partnership between city governments, community-based and non-governmental organisations. It was called Quetta Katchi Abadies Environment Management Programme (QKAEMP). This paper offers some details about QKAEMP, specifically its: Institutional framework Technology options Implementation arrangements Hygiene promotion activities Cost and tenure issues. Two surveys conducted in May 2004 and December 2007, after the project had finished, provide information about the outcomes of the programme. The outcomes were generally positive across the range of indicators studied. This paper outlines factors in the success of the programme as well as some of the constraints faced, challenges that need to be confronted and issues for scaling up. We conclude that a modest level of subsidy that is performance oriented can facilitate the start up of a community-based sanitation programme for the urban poor based on small bore shallow sewers or other appropriate technology. Federal Government funded Quetta Water Supply and Environmental Improvement Project (QWSEIP) has succeeded QKAEMP, and adopted its approach. It could potentially reach out to all the households in the Katchi Abadis of Quetta. However, a high level of subsidy has been set, with the risks of distorting the incentives of the programme partners and diminishing community ownership. Political vision and leadership is needed for sustaining and scaling up the community-based urban sanitation approach.

# Introduction

Quetta Katchi Abadis Environment Management Programme 1997 - 2003 (QKAEMP) was based on the principle of self-help environmental management by communities. Residents of low-income settlements were mobilised by a number of support organisations that shared a common methodology for lane sanitation. They worked independently in 47 different Katchi Abadis (informal settlements) across Quetta city. The programme improved toilets in more than 5,000 houses and laid 49 kilometres of sewers, benefiting some 16% of the population of the informal settlements.

## Purpose and Approach of Evaluation

The monitoring and evaluation unit of Pakistan Institute for Environment-Development Action Research (PIEDAR) designed and supervised two post-project evaluations of QKAEMP, six months and four years after its completion. The primary objective was to find out whether the health and sanitation benefits of the project were being sustained on a household and community scale. Another was to investigate what other effects could be attributed to the programme.

To evaluate the programme, sample surveys were undertaken. They comprised interviews of randomly selected beneficiary and control households. Physical observations in the intervention areas were also made.

### Background

Quetta, the capital of Balochistan Province, is the twelfth most populous city of Pakistan (according to the 1998 Census, it had a population of 639,000). Owing rapid population growth and inadequate institutional capacities to plan and provide services nearly half the city’s inhabitants live in informal settlements, locally known as Katchi Abadis (KAs). The settlements have grown organically making the provision of infrastructure a challenge for Local Government and communities.

Most of the KAs have been officially incorporated within the jurisdiction of the City District Government (CDG) Quetta and many now have piped water. However CDG has not been able to provide sanitation infrastructure to these KAs. Because of the increase in population and the use of water per capita, effluents have also increased without any provision for their disposal. This poses severe health hazards from faecal and water borne diseases.

Governance, especially the law and order situation in Quetta was unsatisfactory at the start and became more adverse during the project. In 1994, the Netherlands Government abandoned a previous water supply and sanitation project because of corruption in the government agency it was working with.

Quetta was and remains a frontier city in the international war on terror. An elected Local Government with enhanced responsibilities emerged as a result of Local Government Ordinance in 2001. But it lacked experience and capacity for enabling community-based development.

A coalition Provincial Government, formed in alliance with religious parties came into power in 2002, the second last year of the project. The Minister for Local Government was strongly opposed to the involvement of women in civic life or in any activity outside their own homes.

# Implementation

## Key actors

The Royal Netherlands Embassy (RNE) in Islamabad executed the Quetta Katchi Abadis Environmental Management Programme (QKAEMP) from November 1997 to December 2003. It had two contracts with PIEDAR, who acted as a technical advisor (TA) and M/s Ferguson Associates (Pvt) Limited, who were fund managers (FM).

Subsidiary memorandums of understanding established the working arrangements between TA, FM, City District Government Quetta (CDGQ), and six Quetta-based NGOs as Implementing Partners (IPs). Community Participation Agreements (CPA) between the IPs and communities living in Katchi Abadis governed the on-ground construction and management.

### Approach

A document entitled Quetta Katchi Abadis Environmental Management Programme (QKAEMP, May 1997) was put together after two years of consultations in Quetta and orientation and exposure of local stakeholders to best practices for community-based sanitation at Orangi, Karachi and Kot Lakhpat, Lahore. It envisaged that management of the intervention would be at a community level, mobilised by a number of catalytic organisations who would share a common programme approach.

A system of matching grants was adopted to support the effort. The IPs felt that a pure self-help approach would be too great a departure from the institutional climate in Balochistan, where government and NGOs had been heavily subsidising capital and running costs.

After processing and approval of the document, QKAEMP was launched on 20 November 1997 with the following development objectives:

To contribute towards a process of sustainable urbanisation in Quetta by creating an enabling institutional framework for promoting local organisations in low-income areas to undertake internal development.

To institutionalise a partnership between Local Government, local NGOs, CBOs and Lane Organisations for better environmental management by promoting technical capacities and democratic decision-making among stakeholders for carrying out development work.

A systematic approach was adopted to implement QKAEMP. A four-tier governance system was set up:

- Annual Stakeholders Conventions were open forums for critique, suggestions and feedback from all stakeholders.

- The Implementing Partners’ Forum served as a platform for the sharing of information, mutual support and coordination at Quetta.

- The Project Management Committee (PMC) at Quetta acted as a supervisory body for making major operational decisions as well as monitoring and reviewing physical progress.

During the initial years, a Policy Steering Committee (PSC) at Islamabad worked on policy and strategic decision-making until some of the functions were devolved to the PMC while others, such as management of external monitoring reverted to the RNE.

### Capacity Building and Training

Orientation Sessions for IPs and staff were a part of the initial work programme of the TA. Subsequently, a variety of training courses were delivered to upgrade the capacities of the IPs and LOs and WLOs. They are listed at Table 1. Specialist trainers were engaged for some of the courses. An interactive methodology was adopted for all the courses, being essential for adult education and values sharing among vanguard groups. For good interaction, the number of trainees was kept in the range of 15-25 persons per workshop and over six years the courses reached out to 720 participants. In addition, two IP staff members were sent to Kandy, Sri Lanka for a three-weeks long training course (October 2001) in hygiene education and promotion delivered by the International Water and Sanitation Centre, the Netherlands.

Table 1: QKAEMP Training Portfolio

| S# | Course Title | No. of Courses delivered |
| --- | --- | --- |
| 1 | Social Organization Training | 6 |
| 2 | Technical Training in Planning, Surveying, Designing, Estimation, and Construction Management | 4 |
| 3 | Health and Hygiene Education Training for Social Organisers/WLOs | 6 |
| 4 | Solid Waste Management Training | 2 |
| 5 | Community Mobilization Skills Training | 3 |
| 6 | Gender Sensitisation Training | 1 |
| 7 | Experience Sharing Training | 1 |
| 8 | Participatory Rural Appraisal (PRA) Training | 1 |
| 9 | Institutional Development and Organizational Strengthening Training | 4 |
| 10 | Power Structure Analysis Training | 1 |
| 11 | Leadership Management Training | 1 |
| 12 | Communication Skills & Conflict Resolution Training | 1 |
| 13 | Financial Management Training | 1 |
| 14 | Accountants Training | 1 |
| 15 | Training for Community Based Organisations | 3 |
|  | Total | 36 |

The TA and FM followed up the training courses during subsequent field and office visits, observing improvements in the practices and, where necessary, pointing out the need to further internalise the training. The training created a pool of managers, engineers, male and female social organisers, and accountants, masons and labourers with the skills and practical experience of implementing a community-based sanitation project.

### Social mobilisation

Social mobilisation played a key role in the programme. Guidelines were developed to streamline the process. A manual that became known as the Seven Steps for Social Mobilisation was shared with all IPs and their staff members, who were often reminded of its content.

Social organisers initially mobilised communities around hygiene and environmental issues and assessed the willingness of each community to invest in common infrastructure. Following a positive response a survey was undertaken jointly with lane residents.

The subsequent key steps were:

Formation of a Lane Organisation (LO) and Women Lane Organisation (WLO).

Signing of CPA between IP and each LO.

Technical survey to prepare the area and ground profiles.

Detailed designs and cost estimates.

Opening of the LO's Bank Account.

Based on estimates, the LO was asked to raise 50% of the cost of the lane sewer. The cheque for the matching grant was released through the IP to the LO account. Six hardware items were given to each household for the construction of a pour flush latrine. The household was entirely responsible for its superstructure. LOs executed the works with the technical assistance of the IP’s engineer.

### Hygiene promotion

The promotion of better hygiene was an integral part of the project. Indicators for awareness of appropriate hygiene practices were included among the key measures of success. The project aimed to get 85% of children aged five and older to wash their hands with soap after defecation. Female social mobilisers demonstrated how to wash your hands with soap during visits to households in every community during the LO/WLO formation and fund raising stages.

### Pro-poor provisions

City government provided an overall list of officially declared KAs. They are mostly located on private land, and comprise a range of habitation types and standards.

The TA developed a set of infrastructure and income indicators for categorising the KAs. The IPs identified their working areas from the KA list on the basis of past outreach experiences and/or community interest. The TA team at Quetta checked the proposed working areas against the indicators to ensure that poor settlements (categories C and D) were selected along with a few that were marginally in Category B.

Five settlements in Category A that solicited project services were provided only with technical assistance and were required to pay the full cost of the sanitary infrastructure.  Within the KAs, the poorest households contributed by providing labour for excavation and pipe laying.

QKAEMP modified its approach to working with “bottom of the pyramid poor” such as Christian and Hindu minority communities living in the congested slum of Shantinagar and at Essa Nagri. In the former area, the project promoted locally managed boreholes for water supply and communal toilets. It also modified its work schedule to suit transient residents, who leave the city in winter months for livelihoods in the plains. However, after a negative initial response QKAEMP did not persist with the attempt to promote sanitation and hygiene among the colonies of migrant tent dwellers at the fringes of the city.

### Impediments (land tenure, ethnicity)

Relatively more accommodation is rented in Quetta than the national urban average (Table 2). However, tenure did not emerge as a major issue in the social mobilisation process for lane sanitation in its informal settlements.

Table 2	Housing tenure in urban Pakistan and urban Quetta (%)

| Type | Urban Pakistan | Urban Quetta |
| --- | --- | --- |
| Owned | 67.6 | 54.4 |
| Rented | 23.2 | 35.0 |
| Rent Free | 9.2 | 10.6 |

Sources: Population and Housing Census, 1998, District Census Report, Quetta

Ethnicity and ethnic diversity were the key determinants. Social mobilisation was relatively easy in progressive communities, such as the Hazara. It was difficult in KAs, where conservative tribes, such as the Baloch, lived. It was most difficult in lanes where people from many ethnic groups lived together.

### Project management

During QKAEMP four Annual Stakeholders Conventions (ASCs) were held in the main auditorium and on the lawns of the CDGQ, traditionally in the second week of March before the start of the construction season. On each occasion 150 to 400 men and women lane managers and committee members took part and shared their sanitation experiences with provincial health, Local Government and environment ministers.

The IP Forum met 22 times over the six years to make arrangements for common events, to share ideas and experiences, and, where possible support each other’s field activities in different KAs.

The PMC met 28 times to discuss technical and social issues the IPs faced in their work. It also became a forum for organisational and project policy issues. A designated IP recorded the minutes and progress was monitored every subsequent meeting.

The PSC met 16 times at Islamabad and Quetta to address policy and financial matters and issues arising from external monitoring. That’s until it was stopped in August 2001.

Before the start of field activities, the technical advisor, fund manager and implementing partners jointly developed the Plan of Operation. It specified administrative arrangements, physical targets and the schedule of activities. An Annual Work Plan (AWP) was prepared for each subsequent year in the same manner. The AWPs were submitted to RNE before October 15, so that RNE could respond to the proposed plans and release allocated budgets.

### Technology/technology choices

The choice of a sanitation system for a locality depends on cultural, social, economic and technical variables. At Quetta a hard non-porous soil, relatively high population densities and availability of nearby ravines for disposal of the effluent led, in most cases, to the selection of a system in which solids are retained on site while the liquid is transported off-site through a small-bore sewer. Low-cost sewerage technologies were first developed in Zambia and Brazil (Sanitation Connection, 2008). QKAEMP learnt from and adapted the system developed by the Orangi Pilot Project, Karachi for implementation by communities (Khan, 1996).

A manual, Seven Technical Steps, was shared with each IP. It laid out the steps for planning, designing, estimating the costs of a sewerage scheme and constructing and maintaining it. A small diameter pipe is laid at shallow depth and low gradient. The system has the following components:

Connection from the house to Tee-hodi (grit interceptor).

Interceptor tank or Tee-hodi where floatable and settleable materials are temporarily stored while foul gases are emitted by a vent pipe installed at the entrance of the interceptor.

A service line, normally a four-inch in diameter RCC or PVC pipe connecting the interceptor to the manhole for the drainage of liquids.

Circular manholes provided at major junctions for maintenance. These are connected to a collector main - normally a 6 to 9 inch diameter RCC pipe - which takes the effluent, by gravity, to the nearest ravine, open drain or trunk sewer. The depth at which the main is laid varies as a function of external street loads and environmental conditions.

The system has worked largely as it was designed. When it is needed, the Tee-hodis are opened and their contents are stirred with a stick and flushed. Stones and plastic are removed physically. Flushing the Tee-hodi with 4-5 buckets of water is enough to keep the service line open. Where the collector main gets constricted, the residents flush it with water from a tank (around 500 gallons) mounted on a mini-tractor trolley. The effluent is disposed off to municipal sewers, open drains and natural ravines. There is no wastewater treatment facility in any locality of Quetta.

The residents had a choice of technology. In Marriabad and Mominabad KAs, located on hillsides, they opted to cover their open drains with slabs. In congested Shantinagar, residents chose to install communal latrines.

### Innovations

Communities were eager to know in advance exactly how much money they would need to spend on the scheme since they needed to spend their households' savings on it. Accurate cost estimates became important as households were generally suspicious of and resented a second round of fundraising.

A simple, user-friendly computer programme was developed by PIEDAR to optimise the design of lane sewers and generate quantities and costs in a transparent manner. It was tested and handed over to partner organisations for their use. Any computer-literate person can easily operate the software, based on a simple Excel spreadsheet. All the IPs used this software throughout the programme period (Afzal, 2002). It can also be used for designing more than one sewer line at a time. However, for optimizing sewerage networks, a design tool such as that developed by the University of Leeds may be preferred (Mara et al, 2001).

Given that most women were excluded from decision-making outside their houses, Women Lane Organisations were a major innovation for Quetta. The idea was introduced alongside health and hygiene training. Under QKAEMP, 181 WLOs were formed in 42 KAs. The WLOs played an effective role in raising money to pay for the scheme and in motivating the men to supervise the laying of lane sewers and installation of latrines.

QKAEMP succeeded because of its dedicated team of female social organisers, and because women worked at all levels in QKAEMP, some as team leaders, others as supervisors, trainers, finance managers, accountants, or extension workers.

### Costs (hardware, software, programme overheads)

The unit costs of the lane sewer and six hardware items (pan, p-trap, connecting pipe, vent pipe, t-joint, and a bag of cement provided to each household for its latrine) during 1998 to 2003 are reproduced in Table 3 below. Not included are costs of the trunk sewers and the (eventual) treatment before end-disposal.

Table 3	Unit costs of sewers and pour-flush latrines (Pakistan Rupees)

| Items | Unit of Measure | Average | Range |
| --- | --- | --- | --- |
| Lane sewers (6” – 9”) | Running feet | 36 | 30 – 44 |
| Pour-flush latrines | Six items provided per latrine | 854 | 612 – 1074 |

Note: Exchange rates ranged between PRs.43.2 to 58.7 per US$ during 1997-2003. Source: Economic Survey, Government of Pakistan, 2002-03, Table 8.14

Households were required to contribute 50% of the estimated cost of the lane sewer. In most cases, the LOs divided the burden equally among the dwelling units in the lane. They decided whether to make any exceptions for the poorest households, who provided labour for the project. The share ranged from Rs.600 to Rs.2000 per household depending on how big the front of the “housing lot” was and the length and depth of the sewer. Many women said that raising the required amount had been difficult.

In this context, it is interesting to document, after a period of four to 10 years, how many people can remember paying for the project. Table 4 provides the results. At least 8% of respondents benefited from an internal community cross-subsidy. Some of them paid in the form of labour.

Table 4	Recall of household share paid for the sewer (December 2007)

| Rupees | Frequency | % | Cumulative % |
| --- | --- | --- | --- |
| 100 to 599 | 4 | 8 | 8 |
| 600 to 1099 | 11 | 22 | 30 |
| 1100 to 1599 | 4 | 8 | 38 |
| 1600 to 2099 | 1 | 2 | 40 |
| Paid, but can’t remember the amount | 27 | 54 | 94 |
| No response | 3 | 6 | 100 |
| Total | 50 | 100 |  |

### External support

The components of actual expenditure over the six years of the programme are displayed in Table 5.

The Royal Netherlands Government (RNG) was the sole external supporter of the project making an investment of around US$1.5 million. The Pakistan Rupee declined from Rs.43 to Rs.59 per dollar over the duration of the project. To simplify the computation, the median year exchange rate has been used to compute the shares of RNG, City District Government, Quetta and the ultimate beneficiaries.

Table 5	Financial highlights

| S. No | Components | Amount (PRs. Million) | % |
| --- | --- | --- | --- |
| 1. | Netherlands programme costs* | 76.6 | 61.0 |
| 1.1 | Technical Advisor (TA) | 13.3 | 10.6 |
| 1.2 | Fund Manager (FM) | 18.8 | 15.0 |
| 1.3 | Implementing Partners (IPs) | 33.1 | 26.3 |
| 1.4 | Direct Assistance (Subsidy) to Lane Organisations (Transfer Funds) | 11.4 | 9.1 |
| 2. | Investments by Beneficiaries | 23.0 | 18.3 |
| 3. | Investment by City Government (on street pavements)** | 26.0 | 20.7 |
| 4. | Grand total | 125.6 | 100.0 |

*   Excludes payment to external monitor, WASTE Consult

** Excludes other investments by City Government related to the programme and street pavements laid after 2003.

An important point to note is that most of the external support went into software costs. These included technical advisory services, such as the training of staff of the IPs, fund management, social mobilisation by the IPs, and supervision of procurement and construction by the LOs, and monitoring and evaluation of the programme. In fact, direct assistance to the communities amounted to only 9% of the total investment by all parties (and 15% of that by the Royal Netherlands Government).

# Outcomes

The direct results of the project have been impressive. Over six years, 49 kilometres of lane sewers were laid in 315 streets located in 42 low-income wards and informal settlements across Quetta. This has helped create a more clean and healthy environment. A total of 5,273 households directly benefited from the project with an external input of around a million and a half US dollars.

The average household size in urban Quetta is 8.3 people (Census, 1998) owing joint and extended families. It is around 10.5 people (various surveys, 1998-2007) in the city’s KAs. QKAEMP records show that 54,593 people or around 8% of the 1998 population of Quetta (or an estimated 16% of the people residing in KAs) benefited from its interventions.

If QWSEIP, the current implementer succeeds in meeting its targets, almost all of the population in the informal settlements of Quetta could be covered with basic sanitary services by 2015. City government has paved many of the streets, and this is an additional benefit. Cost effectiveness and institutional synergy are other key elements in the success.

### Access and usage of toilets by and within households

For the post-project survey conducted during 12 to 18 December 2007, the survey team visited 50 random households in 25 lanes, where sewers had been installed under QKAEMP. Two of the paper’s authors (Salam and Shah, one previously associated with QKAEMP, the other not), conducted the surveys. In addition they interviewed Local Government officials and concerned staff members of partner NGOs and asked them to recall and reflect on their experiences.

Three respondents said they had toilets from before the project, there was no response from two households, but 45 stated that their latrine had indeed been installed under the scheme. Most agreed to show the team their latrine. Almost all (94%) of the inspected latrines were in use, and were found to be “clean”, (as opposed to “filthy” or “choked”).

### Hygiene practice by and within households

The post-project evaluation survey conducted in May 2004 found that nearly half of mothers in the intervention areas said their children washed hands with soap after using the toilet. This was significantly higher than the situation in the control lanes. Claims do not necessarily reflect the actual level of practice and could be biased by training exposure. However, the external monitor from WASTE Consult, after extended participant observation, verified regular hand washing at appropriate times by the members of the households she visited at Ferozabad.

It is rather surprising that 90% of respondents in December 2007 claimed they regularly washed their hands with soap. This could be validated by probing respondents, observing their behaviour and looking at whether soap is actually available. The result may be attributed to subsequent health and hygiene promotion efforts of Government, NGOs or soap companies in the private sector.

### Open Defecation Free status and its validation

The researchers studied 100 feet strips in the 25 randomly selected intervention lanes and found faeces there in only two instances. This is a most encouraging result. However, the survey was undertaken in December (2007), when open defecation is least likely in the bitter winter of Quetta.

### User-reported benefits

Men and women lane managers and committee members reported eleven major benefits of lane sanitation at the Annual Stakeholders Conventions:

- Sewage disposal

- Less smelly environment

- Less open water and breeding places for flies and mosquitoes

- Fewer cases of diarrhoea, malaria and leishmaniasis, and reduced expenditures on healthcare

- Improved pedestrian access especially in winter when the frozen slush becomes slippery

- Vehicle and goods access

- Easier to move sick people

- Creation of a space for social events

- Building foundations protected from seepage

- Protection of groundwater

- Increase in property and rental values

### Beyond toilets: sustaining paving, sewers and solid waste management

It is encouraging to note that most of the 25 sewers inspected after random selection are running some four to ten years after they were installed. Only three of the inspected sewers are choked, while there is a problem with downstream disposal in a fourth case. Furthermore, we can link the blockages with exceptional technical and social circumstances in all the four cases (see below).

At closure in December 2003, Local Government had paved 140 streets or about 44 % of the 315 lanes where sewers had been laid. Interestingly 88% of the sampled lanes are now paved. The on-going lane paving programme can be seen as an indication of both the effective voice of organised citizens and the sustained level of Local Government responsiveness.

On the other hand, it is a matter of concern that in one-quarter of the streets, some of the manhole covers and grit interceptors are broken. Community rehabilitation has occurred but unless there is systematic maintenance and replacement, more sewers could become blocked in future, especially in view of the poor solid waste management.

QKAEMP put in much effort to launch neighbourhood level solid waste management with door-to-door collection by community appointed and paid waste collectors. Solid waste management schemes were active in 14 KAs by 2003 and 41 persons were earning a modest income from monthly contributions by householders and sale of recyclable materials. The prospects for sustainability were assessed as good because management arrangements had been localized. So it is disappointing to note that dustbins are in place and in use in only four of the sampled streets. It is not surprising that litter was found on 60% of the streets.

### Evidence of institutional and financial sustainability

Institutional sustainability is the most challenging feature for any local development programme. In the case of QKAEMP too, most of the local organisations have become dormant and bank accounts established for the project have closed. The maintenance of the installed infrastructure is undertaken on a needs basis or not at all. However, there are examples to demonstrate continued community ownership (Box 1).

Box 1 Cases of community ownership At STN Colony on Sabzal Road, residents have replaced half the manholes and Tee-hodis that had broken or been displaced, and repaired the sewerage system with their own funds. At Syed Talib Street in Marriabad and at Haji Bangul Street in Kharotabad, the residents are most happy with the process and results of QKAEMP and would like to see more community-based programmes in other sectors. Solid waste management practices initiated almost decade ago with the community at Marriabad are continuing. The system is sustaining a number of livelihoods. Regular contributions by households and the linkages of local management with Town Municipal Administration make it a good model for replication.

### Evidence of impact (hygiene, health and gender)

In May 2004, PIEDAR conducted a survey of 158 mothers who had at least one child less than two years of age. Around 80% of the mothers were from households in the QKAEMP intervention areas and were selected randomly. The remaining 20% of the mothers were from randomly selected households in control areas.

Mothers in the intervention areas were interviewed in their homes, as were the mothers in the unimproved KAs. Both sets of mothers responded to a common Knowledge, Attitude and Practice (KAP) questionnaire. The survey was started and completed in May 2004 when temperatures were high and diarrhoea was widespread.

The difference was clear. Diarrhoea among children was reduced by 46% in lanes with sewers compared to those without; by 51% in households where mothers washed their hands with soap after defecation, and by 45% where children washed their hands with soap after defecation compared to those who did not.

The involvement of women of the KAs of Quetta in the process of sanitation implementation was a notable feature of QKAEMP. The WLO formed under QKAEMP provided a new social space for women to negotiate and make the programme more responsive to their needs.

Many WLOs played an effective role in raising savings and motivating the men of the community to supervise the laying of lane sewers and installation of pour flush latrines. Women were also actively involved in the solid waste management (SWM) component of QKAEMP. They proudly spoke about their achievements at the Annual Stakeholder Conventions.

Some of this success may be attributed to a gender-sensitive project design. Women worked at all levels in QKAEMP - as team leaders, supervisors, trainers, finance managers, accountants and as extension workers. The project proactively sought women-led NGOs as IPs and women team leaders. It reserved posts for female social organisers and ensured their mobility. The sensitisation and training in health and personal hygiene enhanced the role of women and increased the acceptability of the intervention among men. It is regrettable that the overall situation of women's rights has not improved in Quetta. Rather, it regressed during the tenure of coalition provincial government that completed its term of office in November 2007.

### Current scale and possibilities of increasing scale

Balochistan Water and Sanitation Authority (B-WASA) has replicated key elements of QKAEMP procedures in the design of Quetta Water Supply and Environmental Improvement Programme (QWSEIP). This aims to reach five times as many low-income households. PIEDAR has also demonstrated the approach to communities and NGOs in Punjab and North West Frontier Province.

A pool of trained engineers, social organisers, masons and skilled labourers is available in the Quetta city for providing assistance in self-help sanitation. Partner IPs retained around 30% of staff after the project, but most have joined other organisations on better salaries.

### Factors of success

A two-year period of preparation (1995-97) was crucial to the success of QKAEMP. Workshops in Quetta and visits to the Orangi Pilot Project, Karachi and other model sanitation interventions across the country enabled the transfer of basic knowledge and skills to city-based organisations. Their inputs into its design created a sense of ownership that was crucial.

The collaborative-competitive framework that was set up for QKAEMP’s implementation enabled the six city-based IPs to learn from each other’s good practice. It established benchmarks for the measurement of quality, unit costs, and progress. None of the IPs had a monopoly on the project, but collectively they could speak with a strong voice to the TA, FM and RNE. The progressive transfer of responsibilities to IPs and communities was another key factor for the success of the programme.

Under QKAEMP, residents of low-income wards and squatter settlements were mobilised to raise half the amount required for a common lane sewer. Communities made internal arrangements to subsidise the poorest households, who provided labour in place of monetary contributions. When the savings target was accomplished the project directly transferred the balance to a community held and operated account. The process and results were intensively monitored by national and international assessors. This transparency is a key factor in the success of QKAEMP.

### Main constraints faced

Before the World Summit on Sustainable Development in 2002, it was novel to have public, private and NGO sector partnerships. QKAEMP, which started in 1997, was a partnership between Local Government, a chartered accountancy consulting firm, a number of NGOs and civil society in Quetta.

In the 1990s, it was an innovation for low-cost sanitation programmes anywhere in Pakistan to establish Women Lane Organisations. These WLOs played a key role in raising savings for sanitation. At places, they even negotiated deferred payment schedules for food items with the local grocery vendors in order for the financially weakest members to make their contribution to the sanitation programme. Owing these and other novel features, the six-year experience of QKAEMP has provided many lessons to all stakeholders. Some of the most important lessons that have implications for policy and programme design are:

QKAEMP was based on an input budgeting system. It focused attention on the quality of staff and other resources assembled by the IPs to undertake the activities to implement the programme. This was felt to be an intrusion by the IPs in their internal affairs. It also diverted attention from the real issues of quality in social mobilisation and physical implementation. The programme should have been based on an output budgeting system (OBS). A focus on measurable social and physical achievements would have resulted in more cooperative partnerships. It is possible that an OBS may have facilitated supervisory arrangements that were more light and cost-effective.

Direct assistance to target communities provides tangible results in a defined time frame. This leads many development support agencies to repeat a common error - a one-sided focus on project objectives. QKAEMP largely avoided this common error, yet it could not entirely escape the dynamics of a physical programme. For some stakeholders, the achievements, in terms of running feet of sewers became the leading indicator. The primary focus should have been on institutional development and organisational strengthening (ID/OS). This focuses more on building the capacities of involved organisations, on the relationships between organisations, and the embedding of specific project activities within these organisations (Uphoff, 1986).

Intermediate organisations would have been the primary focus of an ID/OS approach but this does not mean the target community would be distanced from the programme (Carroll, 1992). Rather ID/OS promotes a chain that builds replication capacities down to the grassroots. In the case of QKAEMP, this implies that the IPs, for example, would have been required to share with local CBOs, not just skills for solid waste management, but also techniques for social mobilisation and computer-based modelling for the design of lane sewers.

The Government of Balochistan took two years (1997 to 1999) before allowing the Local Government in Quetta to participate in the programme. The Provincial Planning and Development Department claimed it had misplaced the 1995 to 1996 files relating to its own role and its permission to the Urban Basic Services (UBS) Cell of CDGQ to participate in the programme. With Government, it is important to confirm every agreement whenever a key official moves on.

The project was an experiment in a public-private and civil society partnership for a pro-poor intervention. Among the various types of public-private partnerships (PPP), it fell in the category of Management Contract, where the whole service is contracted out to a company and a NGO on fixed prices.

There are other types of PPPs, such as Concession, Joint Venture, and Build-Operate-Transfer, where the profits and risks are shared in different, perhaps more equitable and/or efficiency enhancing, ways (Lovei and Gentry, 2002). If the needs of the 40 million plus poor people in Pakistan are to be addressed effectively and efficiently, these other models should be tested and their successes disseminated.

### Challenges that could not be addressed

Heterogeneity of population and interests: Three sewers (out of the sample of 25 surveyed) are blocked; one by undigested sewage and two by solid waste dumped into manholes with broken covers. There is a problem of downstream disposal in a fourth sewer. They indicate challenges that could not be properly addressed:

Khalifa Darvesh Street in Kharotabad was the only line that was blocked by faecal sludge out of the 25 streets surveyed for this study. The area is chronically short of water, even for drinking. The residents used to flush the sewer every two months or so with water purchased from a tractor trolley operator. They have stopped doing so as the expense has gone up, according to Mr. Mohammad Umar, Shopkeeper, Kharotabad interviewed on 23 April, 2008.

Sewers are blocked by solid waste at Masjid e Kausar Lane on Kirrani Road and Kawish Welfare Society in Essa Nagri. The first has extra-ordinary ethnic diversity with ten distinct clan-groups represented among its 57 households while the second is a relatively rare instance of Christians and Muslims living together.

The lack of proper negotiations with the downstream landowner is hindering disposal from the sewer at Lashari Street in Karimabad.

More effective negotiations and consensus building among neighbours is needed in situations of such diversity of interests and values.

Reliable safe water supply: In Quetta Valley, groundwater is overdrawn by 26 million m3 each year. The groundwater table is falling by more than a metre a year. It is estimated that the aquifer will be exhausted by 2020 (Government of Pakistan, 2002). Many households have installed suction pumps to augment their share of the intermittent piped water supplies, but only draw in contaminated wastewater. QKAEMP did not address the crucial issue of water supply in Quetta except at a pilot scale in a minority community. The promotion of water conservation among large water resource users, and more assured supplies and the removal of suction pumps can yield positive health benefits for communities in Quetta.

Total sanitation: Research by various agencies including the Water Supply and Sanitation Collaborative Council (WSSCC) based in Geneva, International Science Federation for Home Hygiene (IFH) and London School of Hygiene and Tropical Medicine (LSHTM), has established the relative benefits of investments in safe water, improved sanitation, and better home hygiene practices. The results were not available to QKAEMP proponents in 1997. It is now known that the incidence of infectious diseases can be most effectively reduced by (i) hygienic cleaning at home (ii) lanes that are free of excreta and black water and (iii) point-of-use treatment of drinking water (Fewtrell and Colford, 2004). Future projects should promote excreta- and black water-free lanes and home hygiene including home purification of drinking water. They should focus on mothers and children to best communicate behaviour change in sanitation and hygiene.

Safe end-disposal of sewage: At present the sewage is disposed in dry ravines and drains at a considerable distance from human settlement. Quetta has a dry climate with strong sunlight, which mitigates the health and environmental impacts of sewage discharged away from populated areas. However, long-term, safe and environmentally sustainable end-disposal is an objective and a challenge.

### Challenges for scaling up the approach

Policy issues: Despite repeated advocacy over its closing years, QKAEMP failed to convince the leadership at CDGQ that substantial improvements had been achieved and that it was the appropriate time to reduce and perhaps even eliminate the direct subsidy. The City District Nazim (Mayor), in fact, continued to argue that the subsidy should be increased. Why do politicians not want to abolish direct subsidy? It is a subject of rich debate. One obvious aspect is that subsidy gives them the power to grant favours to voters. The massive Federally-funded QWSEIP (the successor of QKAEMP) has strengthened this line of argument.

Section 6b of the National Sanitation Policy (NSP) that was approved by the Federal Cabinet in 2006 stipulates a Component Sharing Model for urban areas. It envisages communities installing “internal” sanitation infrastructure, while Government is responsible for “external” or trunk infrastructure. QWSEIP being a government project that was formulated before the launch of NSP in Balochistan is exempt from applying it fully. QWSEIP remains a cost sharing programme. (Interview: Ms. Naheed Khan, Project Coordinator, PMU, Planning and Development Department, Government of Balochistan dated 23 April, 2008).

Until clarity and consistency is achieved in Federal and provincial policies on sanitation, the sector will continue to under-perform.

Programmatic issues: Procedural clarity, equity, continuity and consistency are particularly important:

Procedural clarity: QWSEIP has adopted the institutional arrangements of QKAEMP, with National Engineering Services Pakistan Limited (NESPAK), a large State engineering firm as TA, Office of Accountant General (AG) as Fund Manager; Urban Basic Services (UBS) Cell, CDGQ and five city-based NGOs as IPs.

QWSEIP has also adopted its social mobilisation procedures, forming LOs and WLOs, and its technology for shallow small bore sewers. However, subsidy has been increased to 80% of the cost of the lane sewer. The IPs are reimbursed the costs of accomplished sanitation infrastructure. A deduction of up to 25% is made for sub-standard works.

Progress has been slow so far because of the cumbersome procedure of drawing money from the AG Office (Interview with Mr. Ghulam Qadir Lehri, Coordinator, UBS, CDG Quetta on 26 December 2007).

Equity: QWSEIP also installs deep, large diameter sewers along the main roads of the city under departmental and contractor modes without any direct charge from the residents along the main road. Many people living in the side lanes perceive the requirement for any contributions for condominium sewer as inequitable and unfair (Interview with Mr. Safi Wasiuddin, CEO, Society for Environmental Awareness, an IP of QKAEMP and QWSEIP, 27 December 2007).

Continuity and consistency: Government of Balochistan and NESPAK are thinking to revert to the departmental and contractor mode of lane sanitation delivery. Social mobilization will be undertaken by NESPAK itself, while contractors will undertake construction (Interview Mr. Nabi Noor, Assistant Engineer, NESPAK on 07 October 2008). It is alleged that civil society intermediation is costly and community construction is not up to standard. The minutes of meetings with Government are not circulated in a timely manner. It is not known to civil society stakeholders what forums are authentic and what decisions are final.

# Conclusion

It is often stated that subsidies are a dead-end, not a shortcut to development. We have deconstructed this generalization into infrastructure and institutional dimensions in the case of basic sanitation in the informal settlements of Quetta city. Under QKAEMP a matching grant for community investment in a common asset has led to health, convenience, and other social and economic benefits that have lasted for a decade. The sanitary infrastructure continues to function as designed. Local institutional arrangements have largely settled into a reactive mode, but so far these seem adequate for system maintenance. The idea of public sector – community partnerships for urban sanitation has been accepted in Quetta, but is yet to be firmly embedded in practice. It could be a key innovation for sustainable development of the city. The case study provides an example of the risk of programme transformation from targeted, moderate, performance-responsive subsidy to high levels of subsidy. That however, we argue, is a matter of conscious political choice with other considerations than the most sustainable way of delivering sanitation services.

Fig. 1-3: Lane conditions of the target areas in November 1997 before the project

(Photos: QKAEMP)

Fig. 4-6 Stages in the laying of sewers in Qaiser Colony. The community provided all the labour and half the money.References

References

Afzal, Nadeem (2002) Using local organizations to design low-cost sanitation systems in Pakistan, Waterlines, Vol.20 No.4

Carroll T F (1992) Intermediary NGOs: The Supporting Link in Grassroots Development, Kumarian Press

Fewtrell, L. and J.M. Colford, Jr. (2004) Water, Sanitation and Hygiene: Interventions and Diarrhoea, A Systematic Review and Meta-analysis, HNP, The World Bank & Water Supply & Sanitation Sector Board

Government of Pakistan. (2002). Water Resources Sector Study. Part 5. Islamabad: Ministry of Water and Power

Khan, Akhter Hameed (1996), Orangi Pilot Project: Reminiscences and Reflections, Oxford University Press, Karachi

Lovei M and B S Gentry (2002) The Environmental Implications of Privatization : Lessons for Developing Countries, World Bank Discussion Paper No. 426, World Bank, Washington, D.C.

Mara, D D, A Sliegh, and K Taylor (2001) PC-based Simplified Sewer Design. Leeds: School of Civil Engineering, University of Leeds.

PIEDAR (2004) Quetta Katchi Abadis Environment Management Programme: Final Report

Population Census Organization (1998) Population and Housing Census, Government of Pakistan, Statistics Division, 1999

Population Census Organization (1998) District Census Report of Quetta, Census Report No. 158, November 2001, Government of Pakistan, Statistics Division

Sanitation Connection (2008) www.sanicon.net accessed on 17 April, 2008

Uphoff N (1986) Local Institutional Development: An Analytical Sourcebook with cases, Kumarian Press

Note/s

i. In the initial years, about half of the lanes contacted would accept the terms. In the latter years, many communities pro-actively solicited the programme, and some even raised savings in anticipation.

ii. Sample size for 2004 survey was based on minimum number of observations needed in 7 categories (i.e. beneficiaries of 6 IPs and a control group). For 2007 survey, a target level of error of estimate of +/-7.5% was set for the beneficiaries as a whole, and sample size fixed accordingly.

Keywords

Pakistan, Quetta, sanitation, subsidy, sustainability

Contact details

| Name of Principal Author: Syed Ayub Qutub Affiliation: Pakistan Institute for Environment-Development Action Research (PIEDAR) Address 1st Floor, 64-E, Masco Plaza, Blue Area, Islamabad, Pakistan Tel: 92-51-2820369 Fax: 02-51-2820379 Email: s.a.qutub@piedar.org www: www.piedar.org |  |
| --- | --- |